## FW FAB 1-5
FW FAB 1–5 — parts and quantities
Only these five FAB drawings. Quantities are pieces. No component breakdowns.
Pods / data hall | 11 |  | Pods / Horizon | 33
Data hall is the data-center scope used here. Pipe stock part numbers are not specified.
FAB 1
Assemblies |  |  |  |  | Per scope | 5 | 55 | 165
Part number | Part | Material | Size | Cut length | Per FAB | Pod | Data hall | Horizon
WP1 | Weld Part 1 | SS | 1 1/2" |  | 3 | 15 | 165 | 495
25220 | 90° elbow |  | 1 1/2" |  | 2 | 10 | 110 | 330
24090 | Bronze valve | Bronze | Not stated |  | 1 | 5 | 55 | 165
76575 | Transition coupling |  | Not stated |  | 1 | 5 | 55 | 165
25360 | Reducing tee |  | 1 1/2" x 1 1/2" x 1/2" |  | 1 | 5 | 55 | 165
26025 | IPS reducer |  | 1 1/2" to 1" |  | 1 | 5 | 55 | 165
76585 | IPS-to-CTS transition | Bronze | Not stated |  | 1 | 5 | 55 | 165
79045 | Check valve |  | 1" |  | 1 | 5 | 55 | 165
79450 | Female NPT adapter | Bronze | 1" x 1" |  | 1 | 5 | 55 | 165
Not specified | Pipe cut | CS | 1/2" | 2 3/8" | 1 | 5 | 55 | 165
Not specified | Pipe cut | CS | 1" | 4 1/4" | 1 | 5 | 55 | 165
Not specified | Pipe cut | CS | 1 1/2" | 2' 6 13/16" | 1 | 5 | 55 | 165
Total part pieces (WP1 counted once) |  |  |  |  | 12 | 60 | 660 | 1980
Total CS pipe cut pieces |  |  |  |  | 3 | 15 | 165 | 495
FAB 2
Assemblies |  |  |  |  | Per scope | 8 | 88 | 264
Part number | Part | Material | Size | Cut length | Per FAB | Pod | Data hall | Horizon
WP1 | Weld Part 1 | SS | 1 1/2" |  | 3 | 24 | 264 | 792
25220 | 90° elbow |  | 1 1/2" |  | 2 | 16 | 176 | 528
24090 | Bronze valve | Bronze | Not stated |  | 1 | 8 | 88 | 264
76575 | Transition coupling |  | Not stated |  | 1 | 8 | 88 | 264
25360 | Reducing tee |  | 1 1/2" x 1 1/2" x 1/2" |  | 1 | 8 | 88 | 264
26025 | IPS reducer |  | 1 1/2" to 1" |  | 1 | 8 | 88 | 264
76585 | IPS-to-CTS transition | Bronze | Not stated |  | 1 | 8 | 88 | 264
79045 | Check valve |  | 1" |  | 1 | 8 | 88 | 264
79450 | Female NPT adapter | Bronze | 1" x 1" |  | 1 | 8 | 88 | 264
Not specified | Pipe cut | CS | 1/2" | 2 3/8" | 1 | 8 | 88 | 264
Not specified | Pipe cut | CS | 1" | 4 1/4" | 1 | 8 | 88 | 264
Not specified | Pipe cut | CS | 1 1/2" | 1' 8 9/16" | 1 | 8 | 88 | 264
Total part pieces (WP1 counted once) |  |  |  |  | 12 | 96 | 1056 | 3168
Total CS pipe cut pieces |  |  |  |  | 3 | 24 | 264 | 792
FAB 3
Assemblies |  |  |  |  | Per scope | 1 | 11 | 33
Part number | Part | Material | Size | Cut length | Per FAB | Pod | Data hall | Horizon
WP1 | Weld Part 1 | SS | 1 1/2" |  | 3 | 3 | 33 | 99
25220 | 90° elbow |  | 1 1/2" |  | 3 | 3 | 33 | 99
24090 | Bronze valve | Bronze | Not stated |  | 1 | 1 | 11 | 33
76575 | Transition coupling |  | Not stated |  | 1 | 1 | 11 | 33
25360 | Reducing tee |  | 1 1/2" x 1 1/2" x 1/2" |  | 1 | 1 | 11 | 33
26025 | IPS reducer |  | 1 1/2" to 1" |  | 1 | 1 | 11 | 33
76585 | IPS-to-CTS transition | Bronze | Not stated |  | 1 | 1 | 11 | 33
79045 | Check valve |  | 1" |  | 1 | 1 | 11 | 33
79450 | Female NPT adapter | Bronze | 1" x 1" |  | 1 | 1 | 11 | 33
Not specified | Pipe cut | CS | 1/2" | 2 3/8" | 1 | 1 | 11 | 33
Not specified | Pipe cut | CS | 1" | 4 1/4" | 1 | 1 | 11 | 33
Not specified | Pipe cut | CS | 1 1/2" | 8" | 1 | 1 | 11 | 33
Not specified | Pipe cut | CS | 1 1/2" | 2' 6 13/16" | 1 | 1 | 11 | 33
Total part pieces (WP1 counted once) |  |  |  |  | 13 | 13 | 143 | 429
Total CS pipe cut pieces |  |  |  |  | 4 | 4 | 44 | 132
FAB 4
Assemblies |  |  |  |  | Per scope | 13 | 143 | 429
Part number | Part | Material | Size | Cut length | Per FAB | Pod | Data hall | Horizon
WP1 | Weld Part 1 | SS | 1 1/2" |  | 2 | 26 | 286 | 858
25220 | 90° elbow |  | 1 1/2" |  | 1 | 13 | 143 | 429
24090 | Bronze valve | Bronze | Not stated |  | 1 | 13 | 143 | 429
76575 | Transition coupling |  | Not stated |  | 1 | 13 | 143 | 429
25360 | Reducing tee |  | 1 1/2" x 1 1/2" x 1/2" |  | 1 | 13 | 143 | 429
26100 | 45° street elbow |  | 1/2" |  | 1 | 13 | 143 | 429
Not specified | Pipe cut | CS | 1/2" | 2 3/8" | 1 | 13 | 143 | 429
Not specified | Pipe cut | CS | 1 1/2" | 4 1/4" | 1 | 13 | 143 | 429
Total part pieces (WP1 counted once) |  |  |  |  | 7 | 91 | 1001 | 3003
Total CS pipe cut pieces |  |  |  |  | 2 | 26 | 286 | 858
FAB 5
Assemblies |  |  |  |  | Per scope | 1 | 11 | 33
Part number | Part | Material | Size | Cut length | Per FAB | Pod | Data hall | Horizon
WP1 | Weld Part 1 | SS | 1 1/2" |  | 2 | 2 | 22 | 66
25220 | 90° elbow |  | 1 1/2" |  | 2 | 2 | 22 | 66
24090 | Bronze valve | Bronze | Not stated |  | 1 | 1 | 11 | 33
76575 | Transition coupling |  | Not stated |  | 1 | 1 | 11 | 33
25360 | Reducing tee |  | 1 1/2" x 1 1/2" x 1/2" |  | 1 | 1 | 11 | 33
26100 | 45° street elbow |  | 1/2" |  | 1 | 1 | 11 | 33
Not specified | Pipe cut | CS | 1/2" | 2 3/8" | 1 | 1 | 11 | 33
Not specified | Pipe cut | CS | 1 1/2" | 4 1/4" | 1 | 1 | 11 | 33
Not specified | Pipe cut | CS | 1 1/2" | 1' 1" | 1 | 1 | 11 | 33
Total part pieces (WP1 counted once) |  |  |  |  | 8 | 8 | 88 | 264
Total CS pipe cut pieces |  |  |  |  | 3 | 3 | 33 | 99
Combined totals — all five FAB drawings
Part number | Part | Material | Size | Cut length |  | Pod | Data hall | Horizon
WP1 | Weld Part 1 | SS | 1 1/2" |  |  | 70 | 770 | 2310
25220 | 90° elbow |  | 1 1/2" |  |  | 44 | 484 | 1452
24090 | Bronze valve | Bronze | Not stated |  |  | 28 | 308 | 924
76575 | Transition coupling |  | Not stated |  |  | 28 | 308 | 924
25360 | Reducing tee |  | 1 1/2" x 1 1/2" x 1/2" |  |  | 28 | 308 | 924
26025 | IPS reducer |  | 1 1/2" to 1" |  |  | 14 | 154 | 462
76585 | IPS-to-CTS transition | Bronze | Not stated |  |  | 14 | 154 | 462
79045 | Check valve |  | 1" |  |  | 14 | 154 | 462
79450 | Female NPT adapter | Bronze | 1" x 1" |  |  | 14 | 154 | 462
26100 | 45° street elbow |  | 1/2" |  |  | 14 | 154 | 462
TOTAL PART PIECES | [5 empty] | 268 | 2948 | 8844
WP1 is counted as one fabricated part. Its adapter and SS cut are not added again.
Part number | Part | Material | Size | Cut length |  | Pod | Data hall | Horizon
Not specified | Pipe cut | CS | 1/2" | 2 3/8" |  | 28 | 308 | 924
Not specified | Pipe cut | CS | 1" | 4 1/4" |  | 14 | 154 | 462
Not specified | Pipe cut | CS | 1 1/2" | 4 1/4" |  | 14 | 154 | 462
Not specified | Pipe cut | CS | 1 1/2" | 8" |  | 1 | 11 | 33
Not specified | Pipe cut | CS | 1 1/2" | 1' 1" |  | 1 | 11 | 33
Not specified | Pipe cut | CS | 1 1/2" | 1' 8 9/16" |  | 8 | 88 | 264
Not specified | Pipe cut | CS | 1 1/2" | 2' 6 13/16" |  | 6 | 66 | 198
TOTAL CS PIPE CUT PIECES | [5 empty] | 72 | 792 | 2376
TOTAL PARTS + CS PIPE CUT PIECES | [5 empty] | 340 | 3740 | 11220
Materials already inside WP1
Each WP1 contains one B19MPX-R150 adapter and one 1 1/2" SS pipe cut at 2 5/8".
The quantities below apply to EACH item separately. They are included in WP1, not additional assemblies.
Drawing | Included items | Material | Size | Cut length | Per FAB | Pod | Data hall | Horizon
FAB 1 | Adapter and SS cut (each) | SS | 1 1/2" | 2 5/8" pipe | 3 | 15 | 165 | 495
FAB 2 | Adapter and SS cut (each) | SS | 1 1/2" | 2 5/8" pipe | 3 | 24 | 264 | 792
FAB 3 | Adapter and SS cut (each) | SS | 1 1/2" | 2 5/8" pipe | 3 | 3 | 33 | 99
FAB 4 | Adapter and SS cut (each) | SS | 1 1/2" | 2 5/8" pipe | 2 | 26 | 286 | 858
FAB 5 | Adapter and SS cut (each) | SS | 1 1/2" | 2 5/8" pipe | 2 | 2 | 22 | 66
TOTAL OF EACH WP1 INTERNAL ITEM | [5 empty] | 70 | 770 | 2310
Quantity basis: FAB 1.pdf through FAB 5.pdf, page 1; previously checked part-number takeoff.
Scope ratios: referenced drawing quantity blocks 14 / 154 / 462 and WP1 70 / 770 / 2,310.

## TW Supply and Return
TW Supply and Return — final takeoff
Edit yellow cells on Edit Inputs. Quantities and weld-part materials update automatically.
WP2 uses assembly-layout quantities. The detail-sheet quantity conflict remains noted on Edit Inputs.
Supply drawing
Assemblies | [5 empty] | 8 | 88 | 264
Part number | Part | Material | Size | Cut length | Per drawing | Pod | Data hall | Horizon
WP2 | Weld Part 2 | SS | 2" |  | 1 | 8 | 88 | 264
WP3 | Weld Part 3 | SS | 2" |  | 1 | 8 | 88 | 264
WP4 | Weld Part 4 | SS | 2" |  | 0 | 0 | 0 | 0
80425 | 90° elbow | SS | 2" |  | 1 | 8 | 88 | 264
80930 | Threaded-branch tee | SS | 2" x 2" x 3/4" FPT |  | 1 | 8 | 88 | 264
Custom — no PN | Reducing bushing | Not stated | 3/4" MPT x 1/2" FPT |  | 1 | 8 | 88 | 264
80720 | Reducing tee | SS | 2" x 2" x 1/2" |  | 1 | 8 | 88 | 264
81081 | Ball valve | SS | 1/2" |  | 1 | 8 | 88 | 264
80580 | Press tee | SS | 1/2" |  | 1 | 8 | 88 | 264
79430 | Bronze instrument adapter — uncut | Bronze | 1/2" |  | 2 | 16 | 176 | 528
TOTAL PART PIECES |  |  |  |  | 10 | 80 | 880 | 2640
Weld parts count as one part each. Tube cuts are listed below.
Return drawing
Assemblies | [5 empty] | 8 | 88 | 264
Part number | Part | Material | Size | Cut length | Per drawing | Pod | Data hall | Horizon
WP2 | Weld Part 2 | SS | 2" |  | 2 | 16 | 176 | 528
WP3 | Weld Part 3 | SS | 2" |  | 1 | 8 | 88 | 264
WP4 | Weld Part 4 | SS | 2" |  | 1 | 8 | 88 | 264
80425 | 90° elbow | SS | 2" |  | 1 | 8 | 88 | 264
80930 | Threaded-branch tee | SS | 2" x 2" x 3/4" FPT |  | 0 | 0 | 0 | 0
Custom — no PN | Reducing bushing | Not stated | 3/4" MPT x 1/2" FPT |  | 0 | 0 | 0 | 0
80720 | Reducing tee | SS | 2" x 2" x 1/2" |  | 2 | 16 | 176 | 528
81081 | Ball valve | SS | 1/2" |  | 1 | 8 | 88 | 264
80580 | Press tee | SS | 1/2" |  | 1 | 8 | 88 | 264
79430 | Bronze instrument adapter — uncut | Bronze | 1/2" |  | 3 | 24 | 264 | 792
TOTAL PART PIECES |  |  |  |  | 12 | 96 | 1056 | 3168
Weld parts count as one part each. Tube cuts are listed below.
Combined parts — Supply + Return
Part number | Part | Material | Size |  |  | Pod | Data hall | Horizon
WP2 | Weld Part 2 | SS | 2" |  |  | 24 | 264 | 792
WP3 | Weld Part 3 | SS | 2" |  |  | 16 | 176 | 528
WP4 | Weld Part 4 | SS | 2" |  |  | 8 | 88 | 264
80425 | 90° elbow | SS | 2" |  |  | 16 | 176 | 528
80930 | Threaded-branch tee | SS | 2" x 2" x 3/4" FPT |  |  | 8 | 88 | 264
Custom — no PN | Reducing bushing | Not stated | 3/4" MPT x 1/2" FPT |  |  | 8 | 88 | 264
80720 | Reducing tee | SS | 2" x 2" x 1/2" |  |  | 24 | 264 | 792
81081 | Ball valve | SS | 1/2" |  |  | 16 | 176 | 528
80580 | Press tee | SS | 1/2" |  |  | 16 | 176 | 528
79430 | Bronze instrument adapter — uncut | Bronze | 1/2" |  |  | 40 | 440 | 1320
TOTAL PART PIECES | [5 empty] | 176 | 1936 | 5808
All tube cuts — including tube inside weld parts
Stock part number | Material | Size | Cut length | Per Supply | Per Return | Pod pieces | Hall pieces | Horizon pieces
82000 | SS | 1/2" | 1 3/4" | 2 | 2 | 32 | 352 | 1056
82025 | SS | 2" | 1 5/8" | 1 | 2 | 24 | 264 | 792
82025 | SS | 2" | 3 7/8" | 1 | 1 | 16 | 176 | 528
82025* | SS | 2" | 6 7/8" | 1 | 0 | 8 | 88 | 264
82025 | SS | 2" | 9 1/8" | 0 | 1 | 8 | 88 | 264
82025 | SS | 2" | 14" | 1 | 1 | 16 | 176 | 528
TOTAL TUBE CUT PIECES |  |  |  | 6 | 7 | 104 | 1144 | 3432
*82025 on the 6 7/8" cut is inferred. Counts include internal weld-part tubes once; do not add them to the part-piece total.
Ferrules already inside WP2, WP3 and WP4
Part number | Part | Material | Size |  |  | Pod | Data hall | Horizon
TL14AM7-200PL | Weld ferrule | SS | 2" |  |  | 48 | 528 | 1584
Included materials only. Ferrules are already contained in the weld parts above.

## Edit Inputs
Edit quantities and scope
Yellow cells are editable counts. The workbook is unprotected. Keep gray/formula cells for automatic totals.
Drawing | Pod assemblies | Data hall assemblies | Horizon assemblies
Supply | 8 | 88 | 264 |  |  |  | pp. 1–2: each 8 / 88 / 264. Independent scope counts.
Return | 8 | 88 | 264
Parts per one complete drawing
Part number | Part | Material | Size | Supply qty | Return qty
WP2 | Weld Part 2 | SS | 2" | 1 | 2 |  | pp. 3, 6, 7 and 9. Layout usage 1 Supply / 2 Return; p. 9 quantity block conflicts.
WP3 | Weld Part 3 | SS | 2" | 1 | 1 |  | pp. 1–2 and 10: one per Supply and one per Return.
WP4 | Weld Part 4 | SS | 2" | 0 | 1 |  | pp. 2, 8 and 11: one per Return.
80425 | 90° elbow | SS | 2" | 1 | 1 |  | p. 3 item 2; p. 8 item 2. Original per drawing: 1 / 1.
80930 | Threaded-branch tee | SS | 2" x 2" x 3/4" FPT | 1 | 0 |  | p. 4 item 1. Original per drawing: 1 / 0. Optional 80920 not selected.
Custom — no PN | Reducing bushing | Not stated | 3/4" MPT x 1/2" FPT | 1 | 0 |  | p. 4 item 2. Original per drawing: 1 / 0. Custom; no manufacturer PN given.
80720 | Reducing tee | SS | 2" x 2" x 1/2" | 1 | 2 |  | p. 5 item 1; p. 6 item 1; p. 7 item 1. Original per drawing: 1 / 2.
81081 | Ball valve | SS | 1/2" | 1 | 1 |  | pp. 5–6 item 3. Original per drawing: 1 / 1.
80580 | Press tee | SS | 1/2" | 1 | 1 |  | pp. 5–6 item 4. Original per drawing: 1 / 1.
79430 | Bronze instrument adapter — uncut | Bronze | 1/2" | 2 | 3 |  | pp. 5–7 allow 79430. User-selected uncut bronze replaces 80126. Effective: 2 / 3.
Tube cuts per one complete drawing
Stock part number | Use | Material | Size | Cut length | Supply qty | Return qty
82000 | Small tubes | SS | 1/2" | 1 3/4" | 2 | 2 | pp. 5–6 item 2. Two separate tube cuts per drawing; no cut adapters.
82025 | Inside WP2 | SS | 2" | 1 5/8" | 1 | 2 | p. 9 item 1. One tube per WP2. Quantity follows WP2 automatically.
82025 | Separate tube | SS | 2" | 3 7/8" | 1 | 1 | p. 3 item 3; p. 8 item 3. One per drawing.
82025* | Separate tube | SS | 2" | 6 7/8" | 1 | 0 | p. 1 cut callout. Stock PN inferred from matching 2" tube, not printed on this callout.
82025 | Inside WP4 | SS | 2" | 9 1/8" | 0 | 1 | p. 11 item 1. One tube per WP4. Quantity follows WP4 automatically.
82025 | Inside WP3 | SS | 2" | 14" | 1 | 1 | p. 10 item 1. One tube per WP3. Quantity follows WP3 automatically.
Included weld-part material
Part number | Part | Material | Size | Qty / weld part
TL14AM7-200PL | Weld ferrule | SS | 2" | 1 |  |  | pp. 9–11 item 2: one ferrule per weld part, already included.
Drawing notes
Source: TW GPU DROPS COMPLETE - REV 0 9.29.26.pdf, pages 1–11.
WP2: p. 9 prints 8 / 88 / 264. Assembly usage requires 24 / 264 / 792. This draft uses assembly usage; confirm the mismatch.
Bronze 79430 is used uncut at all five adapter positions per Supply + Return pair, following your earlier instruction.
Supply uses 80930 plus the custom reducing bushing. The optional 80920 replacement is not included.
82025* on the 6 7/8" cut is inferred, not directly stated. All pipe quantities are cut pieces, not stock lengths.
The Return 9 1/8" cut is inside WP4 and is counted once. Weld operations are not purchased parts.
WP2 / WP3 / WP4 are local fabricated-part labels. Ferrules and their internal tube cuts must not be added to weld-part counts.
Edit existing quantities and scope counts in yellow. Adding new part rows requires extending the totals and formula references.